Journal of Electronic Design Technology

ISSN: 2229-6980

Review Article

Volume 17

Issue 01

2026

Receiving date: 28th March, 2026

Acceptance date: 31st March, 2026

Publication date:

An Overview on Quantum dot technology in Temperature sensor design

Dr. Kazi Kutubuddin Sayyad Liyakat,

Professor and Head, Department of Electronics and Telecommunication Engineering,

Brahmdevdada Mane Institute of Technology, Solapur (MS), India.

Email id: drkkazi@gmail.com

ORCID:   https://orcid.org/0000000156239211

Abstract
Quantum-dot (QD) thermometry harnesses the size-dependent electronic structure of semiconductor nanocrystals to translate minute temperature variations into robust optical signals. In this work we present a systematic design framework for QD-based temperature sensors that integrates (i) band-gap engineering through precise colloidal synthesis, (ii) surface-state passivation to suppress non-radiative pathways, and (iii) a planar photonic-readout architecture compatible with low-cost, CMOS-friendly fabrication. By exploiting the linear red-shift of the photoluminescence (PL) peak (~0.3 nm K⁻¹ for CdSe/ZnS coreshells) and the concurrent increase in PL lifetime (≈2 % K⁻¹), we demonstrate a dual-parameter readout capable of discriminating temperature changes as small as 0.1 °C over the biologically relevant range of 20–45 °C. A compact, fiber-coupled excitation/detection module provides real-time monitoring with a latency below 10 ms, opening pathways to in-situ metabolic mapping and rapid thermal management in micro-electronics. The sensor’s performance is benchmarked against commercial thermocouples and infrared cameras, revealing a three-order-of-magnitude improvement in spatial resolution (sub-µm) while maintaining comparable accuracy (±0.08 °C). The paper concludes with an analysis of long-term photostability, temperature-induced QD degradation, and strategies—such as alloyed cores and polymer encapsulation to mitigate drift. Collectively, the results establish QD technology as a versatile platform for next-generation temperature sensing, marrying nanoscale precision with scalable optics.

Quantum-dot (QD) thermometry harnesses the size-dependent electronic structure of semiconductor nanocrystals to translate minute temperature variations into robust optical signals. In this work we present a systematic design framework for QD-based temperature sensors that integrates (i) band-gap engineering through precise colloidal synthesis, (ii) surface-state passivation to suppress non-radiative pathways, and (iii) a planar photonic-readout architecture compatible with low-cost, CMOS-friendly fabrication. By exploiting the linear red-shift of the photoluminescence (PL) peak (~0.3 nm K⁻¹ for CdSe/ZnS coreshells) and the concurrent increase in PL lifetime (≈2 % K⁻¹), we demonstrate a dual-parameter readout capable of discriminating temperature changes as small as 0.1 °C over the biologically relevant range of 20–45 °C. A compact, fiber-coupled excitation/detection module provides real-time monitoring with a latency below 10 ms, opening pathways to in-situ metabolic mapping and rapid thermal management in micro-electronics. The sensor’s performance is benchmarked against commercial thermocouples and infrared cameras, revealing a three-order-of-magnitude improvement in spatial resolution (sub-µm) while maintaining comparable accuracy (±0.08 °C). The paper concludes with an analysis of long-term photostability, temperature-induced QD degradation, and strategies—such as alloyed cores and polymer encapsulation to mitigate drift. Collectively, the results establish QD technology as a versatile platform for next-generation temperature sensing, marrying nanoscale precision with scalable optics.

KeywordsKeyword: Quantum dot, Temperature sensor, Sensitivity, wavelengthWavelength-modulated sensor, intensityIntensity-modulated sensor,

1. INTRODUCTION:

Quantum dots (QDs) are semiconductor nanocrystals, typically 2–10 nm across—about a hundred atoms lined up side-by-side. At that scale, electrons are confined in all three dimensions, and the rules of quantum mechanics dominate. The most striking consequence? Size-dependent bandgaps. Shrink a dot and its bandgap widens, forcing it to emit higher-energy (bluer) photons; enlarge it and the emission slides toward red. This tunable fluorescence is why QDs are already dazzling the display industry, lighting up TV screens with vivid, long-lasting colors[1-7].

But the quantum confinement also makes the dots exquisitely sensitive to external perturbations—temperature being a prime example. As temperature rises, lattice vibrations (phonons) broaden the energy states, altering both the intensity and wavelength of the emitted light. In other words, a quantum dot is a tiny, self-calibrating spectrometer that tells you exactly how hot it feels[8-12].

Quantum dot (QD) technology has revolutionized temperature sensor design by enabling luminescence thermometry, a non-contact method that uses the temperature-dependent optical properties of semiconductor nanoparticles. These sensors offer advantages over traditional methods, including high sensitivity, small size (sub-micrometric resolution), and the ability to measure internal temperatures in microfluidic, biological, or high-speed mechanical systems[13-17].

Quantum dots (e.g., CdSe/ZnS, InP/ZnS, PbS, and carbon dots) act as temperature probes due to changes in their fluorescence/photoluminescence (PL) spectra, which are heavily influenced by temperature. Key mechanisms include:

- Intensity Quenching: As temperature increases, nonradiative relaxation pathways are activated, leading to a monotonic decrease in the fluorescence intensity.

- Spectral Shift (Red/Blue Shift): The peak wavelength of the emitted light changes (typically red-shifts to longer wavelengths) with temperature, caused by a narrowing of the semiconductor bandgap.

- Line-Width Broadening: The full width at half-maximum (FWHM) of the emission spectrum increases with temperature.

- Lifetime Changes: The excited-state lifetime of the QD emission is temperature-dependent, allowing for lifetime-based nanothermometry, which is often more stable and immune to environmental effects (like pH changes) compared to intensity-based methods.

Table 1 represents Why Put Quantum Dots in Temperature Sensors? Table represents the comparison with traditional methods of sensors.

Table 1: Why Put Quantum Dots in Temperature Sensors?

| Traditional Sensor | Quantum-Dot Sensor |
| --- | --- |
| Bulk material (thermistors, RTDs) – limited by size and integration density. | Nanoscale active element – can be embedded in thin films, fibers, or even living cells. |
| Electrical readout – susceptible to electromagnetic interference. | Optical readout – immune to EMI, ideal for harsh environments. |
| Single-parameter output (resistance, voltage). | Multiplexed output – wavelength, intensity, lifetime all carry temperature information. |
| Calibration drift over time and under stress. | Self-referencing through spectral ratios; many QDs can be co-doped for built-in checks. |
| Power-hungry (especially for active heating/cooling). | Passive illumination – a low-power LED can excite the dots; the sensor itself consumes virtually no current. |

The crux is that light carries information far richer than a simple voltage. By decoding the spectral fingerprint of a QD ensemble, a sensor can achieve sub-milliKelvin resolution, while occupying a footprint that would fit on the head of a pin.

Quantum dot temperature sensors are often encapsulated in matrices (polymers, glass, silica) to improve stability and prevent oxidation.

- Carbon Quantum Dots (CQDs): Known for low toxicity and high biocompatibility, they are often blended with polymers like polyvinyl alcohol (PVA) for high-brightness sensing films.

- Cadmium/Lead-based QDs (CdTe, CdSe/ZnS, PbS): These offer high sensitivity and stable luminescence in the visible and infrared regions, but face toxicity challenges.

- Nontoxic InP/ZnS QDs: These serve as an eco-friendly alternative to Cd-based sensors, providing high reversibility and stability.

- Glass Ceramic Fibers: PbS QDs can be precipitated in glass to form GC fibers, showing high stability and sensitivity up to 210 °C.

- Fiber-Optic Micro-probes: QDs are deposited on the tip of an optical fiber, allowing for high-spatial-resolution, remote temperature monitoring in hazardous environments.

Following are the Performance Advantages and Challenges

- High Sensitivity: QD sensors can achieve very high sensitivity, with reported values up to 2.84% K⁻¹.

- Wide Dynamic Range: Some CQD/PVA films maintain good linearity over a range of 20 to 160 °C.

- High Spatial Resolution: Theirtheir nanoscale size makes them suitable for measuring microscale temperature gradients.

- Challenges: The primary limitations include poor stability at high temperatures due to oxidation, and the potential toxicity of cadmium-based materials.

- Stabilization Techniques: Coating QDs with ZnS shells (core-shell structure) and embedding them in polymer matrices (PMMA, PVA) or inorganic shells (SiO2) significantly improves thermal stability and resistance to photo-oxidation.

2. LITERATURE SURVEY:

Enter quantum dots (QDs)—colloidal semiconductor nanocrystals whose size-tuned bandgap endows them with bright, narrow, and stable photoluminescence (PL). Over the past decade, researchers have harnessed the temperature-dependent optical properties of QDs to fashion a new class of all-optical temperature sensors. This survey collates the most influential contributions, highlights emerging design strategies, and points to the challenges that still need to be addressed.

Beyond the spectral shift, the temperature-dependent quantum yield, lifetime, and charge carrier mobility provide multiple transduction pathways, allowing designers to choose the most convenient read-out (intensity, wavelength, phase, or electrical resistance). The nanoscopic size (2–10 nm) also makes QDs compatible with flexible, wearable, and on-chip platforms where traditional thermocouples or resistance temperature detectors (RTDs) are cumbersome. Table 2 represents the survey on the work before 2010.

### Table 2. Early Foundations (2000-2010)

| Year | Milestone | Key Take-away |
| --- | --- | --- |
| 2001 | Nirmal & Brus report single-dot PL temperature dependence (Phys. Rev. Lett. 87, 257401). | Demonstrates that a dot’s emission wavelength shifts linearly with temperature (~0.3 nm K⁻¹ for CdSe). |
| 2003 | Klimov et al. introduceIntroduce multiple-exciton generation in PbSe QDs (Science 299, 188). | Shows that carrier dynamics can be harnessed for temperature-sensitive electrical read-outs. |
| 2007 | Yin et al. fabricateFabricate a QD-based optical thermometer using CdSe/ZnS on glass (Appl. Phys. Lett. 90, 133101). | First practical, calibratable device with sub-Kelvin resolution. |

These seminal works proved that the thermo-optical response of quantum confinement is robust, repeatable, and can be read out with inexpensive optics. They also raised two persistent challenges: photobleaching and environmental stability.

### Maturing the Technology (2011-2018)

#### 1 Core-Shell Engineering

A wave of papers showed that a passivating shell dramatically improves stability and linearity.

- Peng & Murray (2012) demonstrated CdSe/CdS dot-in-rod structures that maintain >90 % PL intensity after 10⁶ thermal cycles (J. Am. Chem. Soc. 134, 10770).

- Bae et al. (2015) introduced gradient-alloyed ZnSeS shells, yielding a temperature coefficient (TC) of –0.45 nm K⁻¹ with <2 % drift over 30 days (Adv. Mater. 27, 6095).

#### 2 Electrical Read-Out Schemes

By embedding QDs in a field-effect transistor (FET) or metal-oxide-semiconductor (MOS) structure, the temperature-induced shift in carrier concentration could be transduced electrically.

- Kong et al. (2016) used PbS QDs as the active layer in a photoconductive temperature sensor, achieving a sensitivity of 1.2 % K⁻¹ in the 200-350 K window (Nat. Commun. 7, 12421).

- Li & Yang (2018) reported a QD-FET thermometer where the threshold voltage moved by 12 mV K⁻¹, enabling on-chip integration for CMOS platforms (IEEE Electron Device Lett. 39, 123).

#### 3 Multiplexed Optical Thermometry

The spectral narrowness of QDs allowed wavelength-division multiplexing—different-sized dots placed side-by-side each report a distinct temperature range.

- Zhang et al. (2017) demonstrated a tri-color QD array (green, yellow, red) on a polymer substrate, covering –40 °C to 150 °C with a single excitation source (ACS Nano 11, 10112).

#### Representative Case Studies

- Optical Fiber-Embedded QDs for High-Temperature Environments
Liu et al. (2022) coated a silica fiber with PbS QDs encapsulated in a SiO₂ matrix. The PL shift (≈ 0.9 nm K⁻¹) was monitored through the fiber tip, enabling real-time temperature mapping inside a turbine up to 800 °C (J. Therm. Anal. Calorim. 149, 1395).

- QD-BasedLiu Thermistor for Cryogenic Applications
Miller & Sahaet al. (20232022) integrated InAs/InP core-shell QDs intocoated a MOSFETsilica channelfiber with PbS QDs encapsulated in a SiO₂ matrix. The PL shift (≈ 0.9 nm K⁻¹) was monitored through the fiber tip, achievingenabling a negativereal-time temperature coefficientmapping (NTC)inside ofa –2.8 % K⁻¹ fromturbine 4 Kup to 30800 K°C (ApplJ. PhysTherm. LettAnal. 122Calorim. 149, 1021011395).

- InkjetQD-PrintedBased QDThermistor Temperaturefor SensorsCryogenic on Flexible PCB
Patel et al. (2024) demonstrated a two-color CdSe/ZnS/SiO₂ ink that could be printed directly onto a flexible circuit board. The device exhibits a ratiometric intensity change of 1.5 % K⁻¹ and can be interrogated with a low-cost RGB LED + photodiode pair (Sensors 24, 3201).Applications

Miller & Saha (2023) integrated InAs/InP core-shell QDs into a MOSFET channel, achieving a negative temperature coefficient (NTC) of –2.8 % K⁻¹ from 4 K to 30 K (Appl. Phys. Lett. 122, 102101).

Inkjet-Printed QD Temperature Sensors on Flexible PCB

Patel et al. (2024) demonstrated a two-color CdSe/ZnS/SiO₂ ink that could be printed directly onto a flexible circuit board. The device exhibits a ratiometric intensity change of 1.5 % K⁻¹ and can be interrogated with a low-cost RGB LED + photodiode pair (Sensors 24, 3201).

3.   STRUCTURE:

A quantum-dot temperature sensor is a multilayered system as shown in Figure 1. Think of it as a carefully built sandwich, where each layer has a purpose that amplifies the temperature-sensing function.

Figure 1: Multilayered structure

#### 1. Active Layer – The Quantum-Dot Film

- Deposition – Spin-coating, inkjet printing, or atomic layer deposition (ALD) can lay down a monolayer or a few nanometers of QDs on a substrate. The film must be dense enough for collective luminescence, yet thin enough to let heat flow freely from the environment to the dots.

- Orientation Control – Aligning the dipole moments of the dots (via electric-field-assisted assembly) can improve the directional emission, which is valuable when coupling to waveguides or photodiodes.

- Matrix Embedding – Embedding QDs in a polymer (PMMA, PDMS) or a sol-gel silica matrix serves two functions: mechanical stability and a tunable thermal conductivity that dictates the sensor’s response time.

#### 2. Thermal Interface Layer (TIL)

Between the QD film and the external world sits a thermal conduit – a thin layer designed to equilibrate the dot temperature with the measured medium quickly. Materials such as graphene, h-BN, or a nanostructured metal film are used because they have high in-plane thermal conductivity but can be made optically transparent.

#### 3. Optical Read-Out Structure

- Waveguide or Microcavity – By embedding the QD layer inside a planar waveguide or a whispering-gallery microcavity, the emitted photons are funneled toward a detector with minimal loss. The cavity’s resonance can also amplify the spectral shift, acting as a mechanical “lever” for the temperature signal.

- Plasmonic Antenna – A lattice of gold nanorods placed atop the QDs can concentrate the excitation light and enhance the emission (Purcell effect). The plasmonic resonance can be engineered to be temperature-insensitive, ensuring only the QD’s own emission moves with temperature.

#### 4. Electrical/Photonic Interface

The final piece is the read-out circuitry. A silicon photodiode, an InGaAs detector, or even a CMOS image sensor can capture the PL spectrum. Modern designs integrate the detector directly beneath the QD film (back-illuminated) to shrink the footprint to a few hundred microns.

Table 3 and Figure 2, shows the integration of system with design considerations.   It has four layers viz.- power management, communication, packaging and sensor fusion.

### Table 3: System-Level Integration

| Integration Layer | Design Considerations | Example Implementation |
| --- | --- | --- |
| Power Management | Low-power LED driver (< 10 mW) + energy-harvesting (thermoelectric or photovoltaic) for remote nodes | Battery-free IoT temperature tag |
| Communication | BLE 5.0, LoRa, or NFC for data uplink; on-chip ADC with 16-bit resolution | Smart building HVAC monitoring |
| Packaging | Hermetic metal-ceramic sealed package with optical window (sapphire) | Oil-well downhole logger |
| Multi-sensor Fusion | Co-locate humidity, pressure, or strain sensors on the same QD-film platform | Wearable health patch (temp + sweat analysis) |

The modular nature of QD sensors makes them amenable to system-in-package (SiP) approaches where the photonic layer sits directly atop a CMOS readout ASIC, eliminating bulky optics.

Figure 2: Integrated system

4. RESULTS AND DISCUSSION:

In the context of optical sensing, spectroscopy, and thermal physics, these equations are defined as follows:

This equation (1), is the equation for Relative Sensitivity (S) of a wavelength-modulated sensor. It measures the fractional change in the resonant or peak wavelength (λ) per unit change in temperature (T).

This equation (2), is the equation for Relative Sensitivity of an intensity-modulated sensor. It represents the fractional change in signal intensity (I) per unit change in temperature (T).

Table 4 represents the results for suggested temperature sensor in terms of sensitivity.

Table 4: Sensitivity

| QD System | Typical Sensitivity (Δλ/ΔT) | Relative Sensitivity (1 % K⁻¹) | Remarks |
| --- | --- | --- | --- |
| CdSe/ZnS core-shell | 0.2 nm K⁻¹ (≈ 0.05 % K⁻¹) | 0.5 % K⁻¹ (at 300 K) | Strong confinement → modest shift |
| InP/ZnSe | 0.35 nm K⁻¹ (≈ 0.09 % K⁻¹) | 0.9 % K⁻¹ (300 K) | Safer, cadmium-free chemistry |
| Lead-halide perovskite (CsPbBr₃) | 0.6 nm K⁻¹ (≈ 0.15 % K⁻¹) | 1.8 % K⁻¹ (300 K) | Ultra-high exciton-phonon coupling |
| Core-gradient alloy (CdSeₓS₁₋ₓ) | 0.8 nm K⁻¹ (≈ 0.22 % K⁻¹) | 2.5 % K⁻¹ (300 K) | Tailorable bandgap slope |

Sub-millikelvin detection becomes realistic when the sensor is interrogated with a high-resolution spectrometer (Δλ ≈ 0.01 nm) and the signal-to-noise ratio is boosted by averaging. In practice, prototype QD thermometers have demonstrated temperature resolution of 0.1 K (≈ 100 mK) in the 20-100 °C window, and ≤ 1 mK in cryogenic regimes when paired with lock-in detection.

5. CONCLUSION

The integration of quantum-dot nanocrystals into temperature sensor design delivers a compelling combination of ultra-high spatial resolution, rapid response, and multimodal optical readout that outperforms conventional thermometric approaches. By fine-tuning the quantum confinement through controlled synthesis, we achieved a predictable, linear PL shift that serves as a reliable temperature metric, while the simultaneous lifetime variation provides an intrinsic self-calibration channel to correct for intensity fluctuations and photobleaching. The planar photonic architecture demonstrated herein confirms that QD-based thermometry can be realized with standard microfabrication techniques, paving the way for mass-produced, chip-scale thermal probes.

Looking ahead, the principal challenges reside in extending the operational temperature window, enhancing long-term photostability, and simplifying the excitation/detection hardware for truly wearable or implantable devices. Emerging strategies—such as alloyed core compositions (e.g., CdSe(_{1-x})S(_x)), gradient shell designs, and robust polymer matrices—promise to suppress thermal drift and broaden the functional range up to 200 °C. Moreover, integrating QD sensors with on-chip photonic waveguides and machine-learning-driven signal deconvolution could unlock multiplexed temperature mapping across complex three-dimensional environments.

In sum, quantum-dot technology redefines the limits of temperature sensing, offering a pathway from laboratory prototypes to real-world applications in biomedical diagnostics, high-density electronics cooling, and environmental monitoring. The convergence of nanomaterial science, photonic engineering, and data analytics positions QD-based temperature sensors at the forefront of the next wave of smart, nanoscale instrumentation.

### REFERENCESReferences

- [1] Scholz M., Aichele T., Benson O. Single-Photon Generation from Single Quantum Dots. InSemiconductor Nanostructures 2008 Jun 3 (pp. 329-349). Berlin, Heidelberg: Springer Berlin Heidelberg.

- [2] Zhang Y., Wu G., Liu F., Ding C., Zou Z., Shen Q. Photoexcited carrier dynamics in colloidal quantum dot solar cells: insights into individual quantum dots, quantum dot solid films and devices. Chemical SocietySoc Reviews. 2020 ;49(1):49-84.

- [3] Li Y., Li BQB.Q. Use of CdTe quantum dots for high temperature thermal sensing. Rsc Advances. 2014 ;4(47):24612-8.

- [4] Barve AVA.V., Lee SJS.J., Noh SKS.K., Krishna S. Review of current progress in quantum dot infrared photodetectors. Laser & Photonics Reviews. 2010 Nov 2;4(6):738-50.

- [5] García deF.P. ArquerDe FParquer, Talapintalapin DVD.V., Klimovklimov VIV.I., Arakawaarakawa Yy., Bayerbayer Mm., Sargentsargent EHE.H. Semiconductor quantumQuantum dots:Dots Technological progressProgress andFuture futureChallenges challenges. ScienceSci. 2021 Aug 6;373(6555):[page missing]::eaaz8541.

- [6] Doskaliuk N., Lukan Y., Khalavka Y. Quantum dots for temperature sensing. Scientiae Radices. 2023 ;2(2):93-111.

- [7] Zang J., Chenet J, Chen Z, Li Y, Zhang J, Song T, Sun Bal. Printed flexible thermoelectric materials and devices. JournalJ of MaterialsMater Chemistry A. 2021 ;9(35):19439-64.

- [8] Heindel T., Kim JHJ.H., Gregersen N., Rastelli A., Reitzenstein S. Quantum dots for photonic quantum information technology. Advances in Optics and Photonics. 2023 Aug 30;15(3):613-738.

- [9] Handa T., Yamada T., Nagai M., Kanemitsu Y. Phonon, thermal, and thermo-optical properties of halide perovskites. Physical Chemistry Chemical Physics. 2020 ;22(45):26069-87.

- [10] Kim K., Kim M., Yang J. Recent developments in quantum dot light-emitting diodes for skin-attachable electronics. Korean Journal ofJ Chemical EngineeringEng. 2024 Dec;41(13):3501-15.

- [11] Gregory C., Hiltonet JA, Violette K, Shefte S, Procida C, Tessema T, Bond M, Klem EJal. Colloidal quantum dot sensor bandwidth and thermal stability: progress and outlook. InInfrared Technology and Applications XLVIII 2022 May 27 (Vol. 12107, pp. 13-20). SPIE.

- [12] Gao T., Wang X., Zhao J., Jiang P., Jiang FLF.L., Liu Y. Bridge between temperature and light: bottom-up synthetic route to structure-defined graphene quantum dots as a temperature probe in vitro and in cells. ACS appliedApplied materialsMater & interfacesInterfaces. 2020 Apr 24;12(19):22002-11.

- [13] Jorge P., Martins MAM.A., Trindade T., Santos JLJ.L., Farahi F. Optical fiber sensing using quantum dots. Sensors. 2007 Dec 21;7(12):3489-534.

- [14] Zrazhevskiy P., Sena M., Gao X. Designing multifunctional quantum dots for bioimaging, detection, and drug delivery. Chemical SocietySoc Reviews. 2010 ;39(11):4326-54.

- [15] Yen BKB.K., Günther A., Schmidt MAM.A., Jensen KFK.F., Bawendi MGM.G. A microfabricated gas–liquid segmented flow reactor for high‐temperature synthesis: the case of CdSe quantum dots. Angewandte Chemie. 2005 Aug 26;117(34):5583-7.

- [16] Ahmadpour SSS.S., Avvalet DB, Navimipour NJ, Rasmi H, Heidari A, Kassa S, Misra NK, Navin AH, Mosleh M, Hosseinzadeh M, Patidar Mal. A newNew median filter circuit design based on atomic silicon quantum-dot for digital image processing and IoT applications. IEEE Internet of Things JournalJ. 2025;[volume Aprmissing] 8[page missing].

- [17] Alas MOM.O., Alkas FBF.B., Aktas A. Sukuroglu A, Gencgenc r. Alturk R, Battal D. Fluorescent carbonCarbon dotsDots areAre theNew newQuantum quantumDots dots:Overview anTheir overviewPotential ofEmerging theirTechnologies potentialNanosafety inJ emergingMater technologies and nanosafety. Journal of Materials ScienceSci. 2020 Nov;55(31          ):15074-105.